## Slide 1: Introduction to geoscience methods
Thomas Matreux
12/01/2024

## Slide 2
leaching
modelling
identification
imaging

## Slide 3
leaching
modelling
composition
imaging

## Slide 4: Leaching
How much and what composition of ions are released?
For instance:
  Mg (vs Na) for ribozymes
  PO4/PO3 for everything (phosphorylation, phospholipids, ..)
  SO4 for some chemistries
  Ca mostly bad (precipitation)
  REE for specific things (DNAzymes etc)
also: buffering via pH (pZC)

## Slide 5: pH meter

## Slide 6: pH meter
“hydrogen activity”
voltage -> calibration e.g. pH 4 typically ~-180mV
cH = 10-pH -> for pH 3, 3mM of H+

## Slide 7: ISE – ion-selective electrode
same working principle but for ions (e.g. Na)
However
  not very sensitive
  cross-talk
  requires specific buffers

## Slide 8: IC – ion chromatography
separation of ions (and any polar molecule, e.g. amino acids, nucleotides, and much much more) based on their affinity to the ion exchanger
Cations -> acidic
Anions -> basic (why?)
same principle for any other molecule

## Slide 10: IC – ion chromatography

## Slide 11: IC – ion chromatography
e.g. MSA, KOH, H2CO3

## Slide 12: IC – ion chromatography
limit in concentrations and sample matrix

## Slide 13: IC – ion chromatography

## Slide 14: IC – ion chromatography

## Slide 15: IC – ion chromatography

## Slide 16: IC – ion chromatography
e.g. Fe2/Fe3
-> UV (or fluorescence) detection

## Slide 17: Example – leaching from basalt

## Slide 18: Example – leaching from basalt

## Slide 19: Example – leaching from basalt
basaltic glass
basaltic rock

## Slide 20: What is what – basalt, sand, glass, .. ?
Igneous/magmatic rock
Metamorphic rock
Sedimentary rock
unconsolidated sediment
sediment
(e.g. clay)
glass

## Slide 21: What is what – basalt, sand, glass, .. ?

## Slide 22: What is what – basalt, sand, glass, .. ?
Igneous rock
basalt
Metamorphic rock
eclogite
unconsolidated sediment
(marly) clay
Sedimentary rock
claystone
Basaltic rock
erosion
compression and compaction
melting
Metamorphic change increase in p,T

## Slide 23
Igneous rock
basalt
Metamorphic rock
eclogite
unconsolidated sediment
(marly) clay
Sedimentary rock
claystone
Basaltic rock
erosion
compression and compaction
melting
Metamorphic change increase in p,T
Igneous rock
granite
Metamorphic rock
Gneiss rock
unconsolidated sediment
(clayey) sand
Sedimentary rock
(clayey) sandstone
Sand
weathering and erosion
compression and compaction
melting
increase
in p,T
What is what – basalt, sand, glass, .. ?

## Slide 24: What is what – some minerals
Calcite (CaCO3)

## Slide 25: What is what – some minerals
Calcite (CaCO3)
Silica (SiO2)-> quartz crystals

## Slide 26: What is what – some minerals
Calcite (CaCO3)
Silica (SiO2)-> quartz crystals
Apatite (Ca5(PO4)3(F,Cl,OH))

## Slide 27
leaching
modelling
composition
imaging
accumulation

## Slide 28: Accumulation by thermal gradients

## Slide 29: Example – selective accumulation PO4 vs Ca
Apatite is one of the most abundant phosphate minerals, but close to insoluble at useful pH Ca5(PO4)3(OH,F)
but soluble in acidic

## Slide 30: Example – selective accumulation PO4 vs Ca

## Slide 31: Example – selective accumulation PO4 vs Ca
How to model this?

## Slide 32
leaching
modelling
composition
imaging
accumulation

## Slide 33: Modelling
phreeqc (including a huge variety of databases)
geochemical workbench
chess
and many more

## Slide 34: Modelling – phreeqc

## Slide 35: Modelling – phreeqc
solution = pp.add_solution({‘pH’:0.7, ’P’:50, ’Ca’:50})
solution.change_temperature(60)
solution.add('NaOH',300, 'mmol’) #Henderson-Hasselbalch

## Slide 36: Modelling – phreeqc
solution = pp.add_solution({‘pH’:0.7, ’P’:50, ’Ca’:50})
solution.change_temperature(60)
solution.add('NaOH',300, 'mmol’) #Henderson-Hasselbalch
'Ca+2': 0.034, 'CaH2PO4+': 0.015, 'CaHPO4': 0.001, 'CaOH+': 1.49e-10, 'CaPO4-': 4.61e-07, 'H+': 1.89e-05, 'H2': 2.86e-13, 'H2O': 55.81, 'H2PO4-': 0.033, 'H3PO4': 7.14e-05, 'HPO4-2': 0.0005, 'Na+': 0.300, 'NaHPO4-': 7.09e-05, 'NaOH': 1.34e-19, 'O2': 0.0, 'OH-': 9.73e-09, 'PO4-3’: 2.00e-10

## Slide 37: Modelling – phreeqc
solution = pp.add_solution({‘pH’:0.7, ’P’:50, ’Ca’:50})
solution.change_temperature(60)
solution.add('NaOH',300, 'mmol’) #Henderson-Hasselbalch
'Ca+2': 0.034, 'CaH2PO4+': 0.015, 'CaHPO4': 0.001, 'CaOH+': 1.49e-10, 'CaPO4-': 4.61e-07, 'H+': 1.89e-05, 'H2': 2.86e-13, 'H2O': 55.81, 'H2PO4-': 0.033, 'H3PO4': 7.14e-05, 'HPO4-2': 0.0005, 'Na+': 0.300, 'NaHPO4-': 7.09e-05, 'NaOH': 1.34e-19, 'O2': 0.0, 'OH-': 9.73e-09, 'PO4-3’: 2.00e-10
'Fix_pH': -4.83, 'H2(g)': -9.38, 'H2O(g)': -0.71, 'Hydroxyapatite': 3.68, 'O2(g)': -54.16
SI = log(IAP/Ksp)

## Slide 38: Modelling – phreeqc
Temperature
pH
Ionic species
Redox
Precipitation + dissolution
Gas phase

## Slide 39: Example – selective accumulation PO4 vs Ca

## Slide 40: Example – selective accumulation PO4 vs Ca

## Slide 41
leaching
modelling
composition
imaging
precipitation
accumulation

## Slide 42: Example – selective precipitation

## Slide 43: µm-scale Images

## Slide 44: µm-scale Images

## Slide 45
leaching
modelling
composition
imaging

## Slide 46: SEM – Scanning electron microscopy
electrons instead of light
electromagnets instead of lenses
-> vacuum

## Slide 47: SEM – Scanning electron microscopy
electrons instead of light
electromagnets instead of lenses
-> vacuum

## Slide 49: Carbon coating

## Slide 50: SEM – Scanning electron microscopy
SE2: Everhart Thornley detector for secondary electrons imaging.
AsB: Angle selective Backscattered detector for high energy backscattered electrons imaging.
SE1: InLens in column detector for High Resolution imaging enhanced for low kV
EsB: Energy Selective Backscattered in column detector for surface backscattered imaging at low kV.
Scanning Transmission electron Microscopy detector for BF/DF imaging on thin samples
Energy Dispersive Spectroscopy detector (X-EDS) Bruker QUANTAX for X elementary analysis

## Slide 52: SEM – Scanning electron microscopy
Images
Characterization

## Slide 53: EDS (/EDX) – Energy Dispersive Spectroscopy

## Slide 54: EDS (/EDX) – Energy Dispersive Spectroscopy
Énergie (keV)
Coups (cps/eV)

## Slide 56: EDS (/EDX) – Energy Dispersive Spectroscopy

## Slide 57: TEM – Transmission electron microscopy
thin samples, brought on a grid
also SEM -> TEM

## Slide 58: TEM – Transmission electron microscopy
thin samples, brought on a grid
also SEM -> TEM
STEM – Scanning transmission
electron microscopy
focussed on spot ~0.1nm
EDX possible
also Laue diffraction patterns possible

## Slide 59
leaching
modelling
composition
imaging

## Slide 60: Laue diffraction patterns

## Slide 61: XRF – X-ray fluorescence

## Slide 62: XRF – X-ray fluorescence

## Slide 63: XRD – X-Ray diffraction

## Slide 64: XRD – X-Ray diffraction

## Slide 65: XRD – X-Ray diffraction

## Slide 66: Reference databases
rruff
mindat
COD (Crystallography Open Database)
And many others

## Slide 67: Reference databases
rruff
mindat
COD
And many others

## Slide 68: XRD – X-Ray diffraction
Before: tables over tables

## Slide 69: XRD – X-Ray diffraction
Before: tables over tables
Now: reference spectra + automatic suggestion of spectra (with defined chemistry)

## Slide 72: Identification
Optical: SEM, TEM, STEM
Composition: EDX, XRF
Phases: Laue, XRD, Raman

## Slide 73
leaching
modelling
composition
imaging
THANKS FOR YOUR ATTENTION QUESTIONS?